## ISS dose data (US Lab)
OSD # | Launch/ mission start | Landing/ mission end | Experiment start | Experiment end | Launch Vehicle | Return Vehicle | Spacecraft | Habitat1 | Dosimeter2 (Module/Rack)3 | Average Absorbed Dose Rate4 (mGy/day) |  | Cumulative Absorbed Dose4 (mGy) |  |  | Notes
|  |  | (Germination) | (Harvest) | [5 empty] | GCR* | SAA* | GCR* | SAA* | Total
OSD-7 (7(1B)) | 2009-11-16 | 2010-02-22 | 2009-12-03 | 2009-12-15 | STS-129 | STS-130 | ISS (US Lab) | ABRS (EXPRESS Rack) | TEPC (NOD2PD3) | 0.155 | 0.112 | 1.86 | 1.344 | 3.204 | Data from several replicates. Seeds were launched, held on ISS for periods ranging from 3-25 days, germinated and grown for 12-14 days, then harvested and fixed: doses reported are for germination+growth; 2; dose data from multiple detectors in several modules; for 2B, data for 4/21-22 are from SMP
OSD-7 (7(3A)) | 2010-02-08 | In review | 2010-02-21 | 2010-03-07 | STS-130 |  | ISS (US Lab) |  | TEPC (JPM1FD3,NOD2P05) | 0.14369 | 0.13362 | 2.012 | 1.871 | 3.882
OSD-7 (7(2A)) | 2010-04-05 | 2010-05-26 | 2010-04-09 | 2010-04-21 | STS-131 | STS-132 | ISS (US Lab) |  | TEPC (SMP327) | 0.12156 | 0.14847 | 1.459 | 1.782 | 3.24
OSD-7 (7(2B)) | 2010-04-05 | 2010-05-26 | 2010-04-21 | 2010-05-03 | STS-131 | STS-132 | ISS (US Lab) |  | TEPC (NOD3F3,SMP327) | 0.15 | 0.11252 | 1.8 | 1.35 | 3.15
OSD-16 | 2009-11-16 | 2010-02-22 | 2010-02-22 | 2010-02-22 | STS-129 | STS-130 | ISS (US Lab) | ABRS (EXPRESS Rack 2) | TEPC (NOD2PD3) | 0.155 | 0.112 | 1.86 | 1.344 | 3.204 | Run 1B: 12/3/2009–12/15/2009 2009. Paper DOI: 10.1089/ast.2014.1210 (Note: pub says return was on 2/8/10; actually 2/22/10. 2/8 was launch date of STS-130; return was 2/22)
OSD-37 | 2014-09-21 | 2014-10-25 | Germinated in orbit; grown for 8 days | In review | SpaceX CRS-4 | SpaceX CRS-4 | ISS (US Lab) | BRIC-PDFU | REM (LAB103) | 0.132 | 0.073 | 1.06 | 0.58 | 1.63 | Expt. start/end dates uncertain. Total dose = avg. x 8 days
OSD-38 | 2015-01-10 | 2015-02-11 | Germinated in orbit; grown for 3 days | In review | SpaceX CRS-5 | SpaceX CRS-5 | ISS (US Lab) | BRIC-PDFU | REM (LAB103) | 0.128 | 0.058 | 0.384 | 0.174 | 0.558 | Expt. start/end dates uncertain. Total dose = avg. x 3 days
OSD-42 | 2006-12-10 | 2007-08-21 | 2006-12-11 | 2007-08-19 | STS-116 | STS-118 | ISS (US Lab) | CHab in CGBA EXPRESS Rack 1) | TEPC (US Lab) | 0.15 | 0.07 | 36.646 | 11.797 | 48.443 | SRAG database has data for 6/15-8/21 only; comparing dose from TEPC in US Lab (6/16-8/21/07) to doses measured w/ TLD100 (2000-2006) and in Russian segment (2001-2008), doses are consistent; therefore use avg. value form US Lab TEPC x 254 days
OSD-95 | 2014-01-09 | 5/8/14 10/25/14 | 2014-01-13 | 1/15/14 (49 hours) | Orbital CRS-1 | SpaceX CRS-3 SpaceX CRS-4 | ISS (US Lab) | CGBA-FPA | REM (NOD254) | 0.11 | 0.24 | 0.21 | 0.48 | 0.69 | No data from US Lab. Data from Node2, REM (COL1A2) (avg. GCR=0.11/d, SAA=0.16/d) and TEPC (SMP327) (0.10, 0.22). Use Node 2 data (highest total dose).
OSD-114 | 2014-04-18 | 2014-05-18 | 2014-04-18 | 2014-04-25 | SpaceX CRS-3 | SpaceX CRS-3 | ISS (US Lab) | CGBA | REM (COL1A2) | 0.11 | 0.12 | 0.791 | 0.805 | 1.596 | 4 days launch + storage on ISS (20C), 3 days of experiment on ISS (37C); No rad data from US Lab. Data from Columbus, JMP, SMP. Use data from Columbus (typically closest to US Lab)
OSD-118 | 2014-04-18 | 2014-05-18 | 2014-04-18 | 2014-04-25 | SpaceX CRS-3 | SpaceX CRS-3 | ISS (US Lab) | CGBA | REM (COL1A2) | 0.11 | 0.12 | 0.791 | 0.805 | 1.596 | 4 days launch + storage on ISS (20C), 3 days or 14 days of experiment on ISS (37C); Rad data: see OSD-114.
|  |  |  | 2014-05-06 | [5 empty] | 0.12 | 0.12 | 2.106 | 2.142 | 4.248
OSD-120 | 2014-04-18 | 2014-05-18 | 2014-04-30 | 2014-05-11 | SpaceX CRS-3 | SpaceX CRS-3 | ISS (US Lab) |  | REM (COL1A2) | 0.12 | 0.13 | 1.309 | 1.419 | 2.728 | Rad data: see OSD-114.
OSD-138 | 2016-07-18 | 2016-08-26 | 2016-07-18 | 2016-07-23 | SpaceX CRS-9 | SpaceX CRS-9 | ISS (US Lab) | BRIC | RAD (LAB103) | 0.16 | 0.08 | 0.805 | 0.385 | 1.19 | Expt. BRIC-23. Paper: Grav. Space Res. 4(2) (Dec. 2016). Launched in metabolically dormant state; actuated in flight @ launch+4 days; incubated for 36 hours (B. subtilis) and 48 hours (S. aureus) then frozen; rad data from two detectors in US Lab (REM, RAD). Use data from RAD. (Slightly higher.)
|  |  |  | 2016-07-24 | [5 empty] | 0.16 | 0.08 | 0.966 | 0.462 | 1.428
OSD-145 | 2016-07-18 | 2016-08-26 | 2016-07-18 | 2016-07-24 | SpaceX CRS-9 | SpaceX CRS-9 | ISS (US Lab) | BRIC | RAD (LAB103) | 0.16 | 0.08 | 1.13 | 0.54 | 1.67 | S.aureus from OSD-138
OSD-147 | 2013-03-01 | 2013-03-26 | 2013-03-01 | 2013-03-13 | SpaceX CRS-2 | SpaceX CRS-2 | ISS (US Lab) | Dragon BRIC | REM (COL1A2) | 0.11 | 0.15 | 1.308 | 1.836 | 3.144 | Dragon capsule berthed to ISS on 3/3/13 (45 hrs after launch) Cells growing at launch; fixed ten days after transfer to ISS. Total space radiation exposure = 12 days (A-L Paul, priv. comm.) No data from US Lab. Use data from Columbus. (Typically similar to US Lab.)
OSD-205 | 3/1/13 15:10 | 2013-03-26 | 2013-03-01 | 2013-03-13 | SpaceX CRS-2 | SpaceX CRS-2 | ISS (US Lab) | Dragon BRIC | REM (COL1A2) | 0.11 | 0.15 | 1.308 | 1.836 | 3.144 | Same as OSD-147. Expt. BRIC-17. Dragon capsule berthed to ISS on 3/3/13 (45 hrs after launch) Cells growing at launch; fixed ten days after transfer to ISS. Total space radiation exposure = 12 days (A-L Paul, priv. comm.) No data from US Lab. Use data from Columbus. (Typically similar to US Lab.)
OSD-233 | 2016-04-08 | 2016-05-11 | 2016-05-01 | 2016-05-08 | SpaceX CRS-8 | SpaceX CRS-8 | ISS (US Lab) | SABL | REM (LAB1O3) | 0.144 | 0.079 | 1.008 | 0.553 | 1.561 | Grown for 4 days and 7 days. Kept @ 4° C before and after.
|  |  | 2016-05-04 | 2016-05-08 | [5 empty] | 0.144 | 0.079 | 0.576 | 0.316 | 0.892
OSD-258 | 2016-07-18 | 2016-08-26 | 2016-07-18 | 2016-08-20 | SpaceX CRS-9 | SpaceX CRS-9 | ISS (US Lab) | SABL | REM (LAB1O3) | 0.146 | 0.088 | 4.81 | 2.908 | 7.717 | "(Cells) were harvested at 4.5 weeks in spaceflight and on day 10 after return to Earth." i.e. two exposure durations: 4.5 and 5.5 weeks
|  |  | 2016-07-18 | 2016-08-26 | [5 empty] | 0.146 | 0.088 | 5.688 | 3.432 | 9.12
OSD-281 | 2014-04-18 | 2014-05-18 | 2014-04-30 | 2014-05-10 | SpaceX CRS-3 | SpaceX CRS-3 | ISS (US Lab) | module wall (see pub) | REM (COL1A2) | 0.128 | 0.119 | 1.28 | 1.19 | 2.47 | Rad data: see OSD-114
OSD-321 | 2017-08-14 | 2017-09-17 | 2017-08-18 | 2017-08-31 | SpaceX CRS-12 | SpaceX CRS-12 | ISS (US Lab) | BRIC | TEPC (NOD2PD3) | 0.153 | 0.078 | 1.989 | 1.018 | 3.007 | Expt. BRIC-22 Paper https://doi.org/10.1089/ast.2020.2313; seed germination and 14 days growth. PDFU actuated on Day 14 for 3 hrs. No dose data from US Lab. Estimate dose based on comparison between IV-TEPC data from Node 2 and REM data from Columbus. Data from April-June 2017 with TEPC in Node 2 and REMs in Columbus and US Lab. Data from Aug-Sept 2017 with REM in Columbus and TEPC in Node 2. Based on comps, use data from TEPC for GCR; TEPC/2.4 for SAA. (Contact GeneLab for details.)
OSD-324 | 2015-04-14 | 2015-05-21 | 2015-04-14 | 2015-04-16 | SpaceX CRS-6 | SpaceX CRS-6 | ISS (US Lab) | MWA | REM (LAB1O3) | 0.131 | 0.047 | 0.262 | 0.094 | 0.355 | OSTEO-4 cell culture system, set up in MWA.
|  |  | 2015-04-14 | 2015-04-18 | [5 empty] | 0.129 | 0.049 | 0.517 | 0.196 | 0.713
|  |  | 2015-04-14 | 2015-04-20 | [5 empty] | 0.129 | 0.049 | 0.771 | 0.294 | 1.066
1Habitats
ABRS - Advanced Biological Research System (https://www.nasa.gov/mission_pages/station/research/experiments/explorer/Investigation.html?#id=635)
BRIC - Biological Research in Canisters (https://www.nasa.gov/mission_pages/station/research/experiments/explorer/Investigation.html?#id=697)
PDFU - Petri Dish Fixation Unit
CGBA - Commercial Generic Bioprocessing Apparatus (https://www.nasa.gov/mission_pages/station/research/experiments/explorer/Investigation.html?#id=329)
CHab - Caenorhabditis elegans Habitat (https://www.nasa.gov/mission_pages/station/research/experiments/explorer/Investigation.html?#id=970)
EXPRESS - EXpedite the PRocessing of Experiments to Space Station (https://ntrs.nasa.gov/archive/nasa/casi.ntrs.nasa.gov/20140016876.pdf)
2Dosimeters
RAD - Radiation Assessment Detector (https://ntrs.nasa.gov/archive/nasa/casi.ntrs.nasa.gov/20150016969.pdf)
REM - Radiation Environment Monitor (https://www.sciencedirect.com/science/article/pii/S0168900215001977)
TEPC - Tissue Equivalent Proportional Counter (https://www.nasa.gov/mission_pages/station/research/experiments/explorer/Investigation.html?#id=620)
3Modules
COL - ESA Module ("Columbus")
JPM - Japanese Pressurized Module (part of "Kibo")
LAB - US Lab ("Destiny")
NOD1, NOD2, NOD3 = Nodes, which connect the elements of the ISS.
Node 1 ("Unity") connects the U.S. and Russian segments.
Node 2 ("Harmony") connects the U.S., European, and Japanese laboratories, as well as PMA-2.
Node 3 ("Tranquility") is attached to the port side of Node 1 and provides accommodation for life-support equipment.
SMP = Russian Service Module ("Zvezda")
4Absorbed dose is broken out into SAA and GCR contributions, estimated based on the ISS trajectory and a geomagnetic field model